## Slide 1: Programming Study Align Algorithm
NAM SOFTWARE
2017

## Slide 2: Geometric model - Coordinates
{S}
World coordinate
Mark
{G}
{W}
Stage
{C}
{L}
Laser head
Camera
Glass
Coordinates

## Slide 3: Coordinate Transform

## Slide 4: Geometric model – camera
Mark position
w.r.t camera pixel
Pixel to Camera
Camera to Camera Assembly
Camera Assembly to World
Mark position w.r.t World

## Slide 5: Geometric model – stage
Mark position w.r.t World
Mark position w.r.t Glass
Glass to GlassCenter
GlassCenter to GlassLoading
GlassLoading to Stage
Stage to Servo
Servo to World

## Slide 6: Camera matrix
Resolution mm/pixel
Width, Height

## Slide 7: Calibration – finding camera offset
Mark at the stage
target

## Slide 8: Least Square Method

## Slide 9: Calibration – glass
target

## Slide 10: Servo control to mark

## Slide 11: Calibration error

## Slide 12: OpenCV matrix operation

## Slide 13: Camera, Stage and reference mark

## Slide 14: Calibrate Camera

## Slide 15: Error check

## Slide 16: Cases

## Slide 17: Camera, Stage and Glass

## Slide 18: Calibrate Glass

## Slide 19: Calibrate Glass

## Slide 20: Cases